Захтев за симулациону проверу испуњености услова за прикључење објекта енергетског парка

| 1. Подносилац захтева |  |  |
| --- | --- | --- |
| назив |  |  |
| седиште |  |  |
| улица и број |  |  |
| e-mail |  |  |
| матични бр. правног лица |  |  |
| контакт | име и презиме |  |
|  | бр. телефона |  |
|  | e-mail |  |
| овлашћено лице за подношење захтева |  |  |

| 2. Врста објекта |  |
| --- | --- |
|  | ветроелектрана |
|  | соларна електрана |
|  | објекат за складиштење електричне енергије |
|  | остало: ............................ |

| 3. Технички подаци |  |
| --- | --- |
| Одобрена снага дефинисана студијом прикључења [MW]: |  |
| Инсталисана снага објекта [MW]: |  |
| Инсталисана снага складишта (само уколико постоји у оквиру објекта електране) [MW]: |  |
| Капацитет складишта (уколико постоји) [MWh]: |  |

| 4. Остало |  |
| --- | --- |
| Студија прикључења број: |  |
| Уговор о прикључењу број: |  |
| Планирана година прикључења: |  |

# Потребни улазни подаци

- Прегледна једнополна шема која минимално треба да обухвати прикључак на високом напону, трансформаторе ВН/СН, средњенапонско постројење са свим СН изводима, струјне кругове са назначеним дужинама водова, до нивоа step-up трансформатора (средњи напон/напон инвертора или ветрогенератора).

- Симулациони модели електране у DigSilent и PSSE формату (.pfd, .sav,
.dyr) који треба да представљају комплетан објекат (генератори, трансформатори, каблови, итд.) за потребе спровођења динамичких симулација, анализе утицаја на квалитет и анализе напонско реактивних могућности.

- Подаци о мрежним трансформаторима (ВН/СН) уз које се доставља и техничка документација од произвођача

| Network transformer characteristics – two winding |  |  |
| --- | --- | --- |
| Winding 1 nominal voltage |  | kV |
| Winding 2 nominal voltage |  | kV |
| No-load losses Po |  | kW |
| Short circuit losses Pk |  | kW |
| Short circuit voltage uk |  | % |
| No-load current i0 |  | % |
| Base power used for Pk and uk calculation |  | MVA |
| Base voltage used for Pk and uk calculation |  | kV |
| Base power used for Po and i0 calculation |  | MVA |
| Base voltage used for Po and i0 calculation |  | kV |
| or if available : |  |  |
| Equivalent resistance R |  | Ω |
| Equivalent reactance X |  | Ω |
| Magnetising reactance Xm |  | Ω |
| if available |  |  |
| Voltage control range |  | % |
| No. of taps |  |  |
| Voltage step per tap |  | % |
| Tap changer time constant (including commutation and measurement delay) |  | s |

Requested diagrams

- Transformer magnetic core saturation curve (V-I no load chart) - Transformer energisation test curve (if available)

| Network transformer characteristics – three winding |  |  |
| --- | --- | --- |
| Winding 1 nominal voltage |  | kV |
| Winding 2 nominal voltage |  | kV |
| Winding 3 nominal voltage |  | kV |
| Winding 1 nominal power |  | MVA |
| Winding 2 nominal power |  | MVA |
| Winding 3 nominal power |  | MVA |
| No-load losses Po |  | kW |
| Short circuit losses Pk12 |  | kW |
| Short circuit losses Pk13 |  | kW |
| Short circuit losses Pk23 |  | kW |
| Base power used for Po calculation |  | MVA |
| Base power used for Pk calculation |  |  |
| Base voltage used for Po calculation |  | kV |
| Base voltage used for Pk calculation |  |  |
| Short circuit voltage uk12 |  | % |
| Base power used for uk12 calculation |  | MVA |
| Base voltage used for uk12 calculation |  | kV |
| Short circuit voltage uk13 |  | % |
| Base power used for uk13 calculation |  | MVA |
| Base voltage used for uk13 calculation |  | kV |
| Short circuit voltage uk23 |  | % |
| Base power used for uk23 calculation |  | MVA |
| Base voltage used for uk23 calculation |  | kV |
| No-load current i0 |  | % |
| Base power used for i0 calculation |  | MVA |
| Base voltage used for i0 calculation |  | kV |
| or if available: |  |  |
| Equivalent resistance R |  | Ω |
| Equivalent reactance X |  | Ω |
| Magnetising reactance Xm |  | Ω |
| Voltage control range (if available) |  | % |
| No. of taps |  |  |
| Voltage step per tap |  | % |
| Tap changer time constant (including commutation and measurement delay) |  | s |
| Requested diagrams |  |  |
| - Transformer magnetic core saturation curve (V-I no load chart) - Transformer energisation test curve (if available) |  |  |

- Подаци о блок-трансформаторима уз које се доставља и техничка документација од произвођача

| Step – up transformer characteristics – two winding (if exists) |  |  |
| --- | --- | --- |
| HV voltage level |  | kV |
| LV voltage level |  | kV |
| Rated power |  | MVA |
| No-load losses Po |  | kW |
| Short circuit losses Pk |  | kW |
| Short circuit voltage uk |  | % |
| No-load current i0 |  | % |
| or if available : |  |  |
| Equivalent resistance R |  | Ω |
| Equivalent reactance X |  | Ω |
| Magnetising reactance Xm |  | Ω |
| if available |  |  |
| Voltage control range |  | % |
| No. of taps |  |  |
| Voltage step per tap |  | % |
| Tap changer time constant (including commutation and measurement delay) |  | s |
| Requested diagrams |  |  |
| - Transformer magnetic core saturation curve (V-I no load chart) - Transformer energisation test curve (if available) |  |  |

| Step – up transformer characteristics – three winding (if exists) |  |  |
| --- | --- | --- |
| Winding 1 nominal voltage |  | kV |
| Winding 2 nominal voltage |  | kV |
| Winding 3 nominal voltage |  | kV |
| Winding 1 nominal power |  | MVA |
| Winding 2 nominal power |  | MVA |
| Winding 3 nominal power |  | MVA |
| No-load losses Po |  | kW |
| Short circuit losses Pk12 |  | kW |
| Short circuit losses Pk13 |  | kW |
| Short circuit losses Pk23 |  | kW |
| Base power used for Po calculation |  | MVA |
| Base power used for Pk calculation |  |  |
| Base voltage used for Po calculation |  | kV |
| Base voltage used for Pk calculation |  |  |
| Short circuit voltage uk12 |  | % |
| Base power used for uk12 calculation |  | MVA |
| Base voltage used for uk12 calculation |  | kV |
| Short circuit voltage uk13 |  | % |
| Base power used for uk13 calculation |  | MVA |
| Base voltage used for uk13 calculation |  | kV |
| Short circuit voltage uk23 |  | % |
| Base power used for uk23 calculation |  | MVA |
| Base voltage used for uk23 calculation |  | kV |
| No-load current i0 |  | % |
| Base power used for i0 calculation |  | MVA |
| Base voltage used for i0 calculation |  | kV |
| Voltage control range (if available) |  | % |
| No. of taps |  |  |
| Voltage step per tap |  | % |
| Tap changer time constant (including commutation and measurement delay) |  | s |
| Requested diagrams |  |  |
| - Transformer magnetic core saturation curve (V-I no load chart) - Transformer energisation test curve (if available) |  |  |

- Подаци о ветроелектрани (попуњава се само за ветроелектране)

  - Подаци о турбини и генератору уз које се доставља техничка документација од произвођача

| General wind power data |  |  |
| --- | --- | --- |
| Cut-in wind speed |  | m/s |
| Rated wind speed |  | m/s |
| Cut-out wind speed |  | m/s |
| Wind turbine rated power |  | kW |
| Blade data |  |  |
| Blade type |  |  |
| Blades angle of rotation |  | ° |
| Blade weight |  | t |
| Tower data |  |  |
| Tower type |  |  |
| Tower height |  | m |
| Tower weight |  | t |
| Turbine data |  |  |
| No of blades |  |  |
| Diameter |  | m |
| Swept area |  | m2 |
| Rotation rated speed |  | rpm |

| Generator data |  |  |
| --- | --- | --- |
| Generator type |  |  |
| Rated speed (synchronous speed) |  | rpm |
| Speed range |  | rpm |
| Maximum speed |  | rpm |
| Rated power |  | kW |
| Maximum power |  | kVA |
| Range of reactive power (ind.-cap.) |  | kVAr |
| Range of power factor (ind.-cap.) |  | (lead-lagg) |
| Short circuit power |  | kVA |
| Stator line voltage and range of voltage variation (±%) |  | V |
| Stator frequency and permitted range (±%) |  | Hz |
| Number of poles (2p) |  |  |
| Stator coupling |  |  |
| Machine efficiency |  |  |
| Stator resistance (calculated on the stator reference) |  | Ω |
| Rotor resistance (calculated on the stator reference) |  | Ω |
| Stator reactance (calculated on the stator reference) |  | Ω |
| Rotor reactance (calculated on the stator reference) |  | Ω |
| Magnetizing reactance (calculated on the stator reference) |  | Ω |
| Equivalent subtransient reactance X’’ |  | % |
| Equivalent transient reactance X’ |  | % |
| Equivalent subtransient time constant T’’ |  | s |
| Equivalent transient time constant T’ |  | s |
| Line voltage on the opened contacts of the locked rotor |  | V |
| Inertia constant H (all rotating masses) |  | kWs/kVA |
| Generator moment of inertia |  | kg m2 |
| Total moment of inertia (all rotating masses) |  | kg m2 |
| Torsion constant high speed rotation axis converted to electrical side |  | Nm/rad |

Requested diagrams

- Wind generator magnetic core saturation curve (V-I no load chart) - Wind generator operating characteristics (P vs. wind speed chart) - Wind generator capability curve (P-Q chart) - Voltage control diagram (V-Q chart)

| Wind turbine type (horizontal/vertical axis) |  |
| --- | --- |
| Number of blades |  |
| Rotor diameter (m) |  |
| Hub height (m) |  |
| Blade control (pitch/stall) |  |
| Speed control (fixed/two-speed/variable) |  |
| Generator type and rating(s) (kW) |  |
| Frequency controller type and rating (kVA) |  |
| Reactive compensation and rating (kvar) |  |
| Transformation ratio and rating (kVA) |  |
| Identification of wind turbine terminals |  |

| Rated power, Pn (kW) |  |
| --- | --- |
| Rated wind speed, vn (m/s) |  |
| Rated apparent power, Sn (kVA) |  |
| Rated current, In (A) |  |
| Rated voltage, Un (V) |  |
| Rated frequency, fn (Hz) |  |

  - Подаци о утицају ветроелектране на флуктуације напона у континуалном раду

| Network impedance phase angle, ψk (º) | 30 | 50 | 70 | 85 |
| --- | --- | --- | --- | --- |
| Annual average speed, va (m/s) | Flicker coefficients (ψk, va) |  |  |  |
| 6.0 |  |  |  |  |
| 7.5 |  |  |  |  |
| 8.5 |  |  |  |  |
| 10.0 |  |  |  |  |

  - Подаци о утицају ветроелектране на флуктуације напона при склопним операцијама

| Case of switching operation | Start-up at cut-in wind speed |  |  |  |
| --- | --- | --- | --- | --- |
| Max. number of switching operations, N10m |  |  |  |  |
| Max. number of switching operations, N120m |  |  |  |  |
| Network impedance phase angle, ψk (º) | 30 | 50 | 70 | 85 |
| Flicker step factor, kf (ψk) |  |  |  |  |
| Voltage change factor, kU (ψk) |  |  |  |  |

| Case of switching operation | Start-up at rated wind speed or higher |  |  |  |
| --- | --- | --- | --- | --- |
| Max. number of switching operations, N10m |  |  |  |  |
| Max. number of switching operations, N120m |  |  |  |  |
| Network impedance phase angle, ψk (º) | 30 | 50 | 70 | 85 |
| Flicker step factor, kf (ψk) |  |  |  |  |
| Voltage change factor, kU (ψk) |  |  |  |  |

| Case of switching operation | Worst case switching between generators |  |  |  |
| --- | --- | --- | --- | --- |
| Max. number of switching operations, N10m |  |  |  |  |
| Max. number of switching operations, N120m |  |  |  |  |
| Network impedance phase angle, ψk (º) | 30 | 50 | 70 | 85 |
| Flicker step factor, kf (ψk) |  |  |  |  |
| Voltage change factor, kU (ψk) |  |  |  |  |

  - Подаци о утицају ветроелектране на струје виших хармоника

| Pbin(%) | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| H | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) |
| 2 |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |
| ... |  |  |  |  |  |  |  |  |  |  |  |
| 50 |  |  |  |  |  |  |  |  |  |  |  |
| THC(%) |  |  |  |  |  |  |  |  |  |  |  |

- Подаци о соларној електрани (попуњава се само за соларне електране)

  - Подаци о соларним панелима и инверторима уз које се доставља техничка документација од произвођача

| Solar panel data |  |  |
| --- | --- | --- |
| Manufacturer |  |  |
| Type |  |  |
| Dimensions |  |  |
| Output power |  | kW |
| Rated current |  | V |
| Rated voltage |  | A |
| Technical specification from manufacturer is also required. |  |  |
| Converter data |  |  |
| Manufacturer |  |  |
| Type |  |  |
| Maximum DC power (cosphi=1) |  | kW |
| Maximum DC voltage |  | V |
| Maximum AC power (cosphi=1) |  | kW |
| Maximum AC voltage |  | V |
| Rated voltage |  | V |
| Maximum output current |  | A |
| Efficiency |  | % |
| Technical specification from manufacturer is also required. |  |  |

  - Подаци о утицају соларне електране на флуктуације напона у континуалном раду

| Network impedance phase angle, ψk (º) | 30 | 50 | 70 | 85 |
| --- | --- | --- | --- | --- |
| Annual average irradiation (W/m2) | Flicker coefficients (ψk, va) |  |  |  |

  - Подаци о утицају соларне електране на флуктуације напона при склопним операцијама

| Case of switching operation | Depending on irradiation |  |  |  |
| --- | --- | --- | --- | --- |
| Max. number of switching operations, N10m |  |  |  |  |
| Max. number of switching operations, N120m |  |  |  |  |
| Network impedance phase angle, ψk (º) | 30 | 50 | 70 | 85 |
| Flicker step factor, kf (ψk) |  |  |  |  |
| Voltage change factor, kU (ψk) |  |  |  |  |

| Case of switching operation | Worst case switching |  |  |  |
| --- | --- | --- | --- | --- |
| Max. number of switching operations, N10m |  |  |  |  |
| Max. number of switching operations, N120m |  |  |  |  |
| Network impedance phase angle, ψk (º) | 30 | 50 | 70 | 85 |
| Flicker step factor, kf (ψk) |  |  |  |  |
| Voltage change factor, kU (ψk) |  |  |  |  |

  - Подаци о утицају соларне електране на струје виших хармоника

| Pbin(%) | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| H | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) |
| 2 |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |
| ... |  |  |  |  |  |  |  |  |  |  |  |
| 50 |  |  |  |  |  |  |  |  |  |  |  |
| THC(%) |  |  |  |  |  |  |  |  |  |  |  |

- Подаци о складишту (самостално или уколико постоји у оквиру објекта електране)

  - Подаци о инверторима складишта уз које се доставља техничка документација од произвођача

| Converter data |  |  |
| --- | --- | --- |
| Manufacturer |  |  |
| Type |  |  |
| Maximum DC power (cosphi=1) |  | kW |
| Maximum DC voltage |  | V |
| Maximum AC power (cosphi=1) |  | kW |
| Maximum AC voltage |  | V |
| Rated voltage |  | V |
| Maximum output current |  | A |
| Efficiency |  | % |
| Technical specification from manufacturer is also required. |  |  |

  - Подаци о утицају складишта на флуктуације напона у континуалном раду

| Network impedance phase angle, ψk (º) | 30 | 50 | 70 | 85 |
| --- | --- | --- | --- | --- |
|  | Flicker coefficients (ψk, va) |  |  |  |

  - Подаци о утицају складишта на флуктуације напона при склопним операцијама

| Case of switching operation |  |  |  |  |
| --- | --- | --- | --- | --- |
| Max. number of switching operations, N10m |  |  |  |  |
| Max. number of switching operations, N120m |  |  |  |  |
| Network impedance phase angle, ψk (º) |  |  |  |  |
| Flicker step factor, kf (ψk) |  |  |  |  |
| Voltage change factor, kU (ψk) |  |  |  |  |

| Case of switching operation |  |  |  |  |
| --- | --- | --- | --- | --- |
| Max. number of switching operations, N10m |  |  |  |  |
| Max. number of switching operations, N120m |  |  |  |  |
| Network impedance phase angle, ψk (º) |  |  |  |  |
| Flicker step factor, kf (ψk) |  |  |  |  |
| Voltage change factor, kU (ψk) |  |  |  |  |

  - Подаци о утицају складишта на струје виших хармоника

| Pbin(%) | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| H | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) | In(%) |
| 2 |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |
| ... |  |  |  |  |  |  |  |  |  |  |  |
| 50 |  |  |  |  |  |  |  |  |  |  |  |
| THC(%) |  |  |  |  |  |  |  |  |  |  |  |

У табелу уписати само податке који се не налазе у техничкој документацији произвођача трансформатора

У табелу уписати само податке који се не налазе у техничкој документацији произвођача трансформатора